## Sheet1
Portugal
Table: Growth in Portugal’s installed electricity capacity (MW)
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Hydro | 4952 | 4952 | 4965 | 4973 | 4988 | 5392 | 5654 | 5653 | 5684 | 6156 | 6945 | 7193 | 7215 | 7216
Thermal | 5852 | 5820 | 5820 | 6626 | 7407 | 7407 | 6696 | 6854 | 6611 | 6519 | 6452 | 6397 | 6383 | 6361
–Coal | 1776 | 1776 | 1776 | 1756 | 1756 | 1756 | 1756 | 1756 | 1756 | 1756 | 1756 | 1756 | 1756 | 1756
–Natural gas | 2166 | 2166 | 2166 | 2992 | 3829 | 3829 | 3829 | 4759 | 4717 | 4698 | 4636 | 4605 | 4606 | 4597
–Fuel oil/gas oil/diesel | 1910 | 1878 | 1878 | 1878 | 1822 | 1822 | 1111 | 339 | 138 | 65 | 60 | 36 | 21 | 8
Biomass | 1299 | 1365 | 1424 | 1610 | 1680 | 1860 | 1765 | 597 | 601 | 614 | 613 | 624 | 658 | 693
Wind | 1517 | 2048 | 2662 | 3357 | 3706 | 4080 | 4194 | 4364 | 4541 | 4846 | 5070 | 5099 | 5145 | 5208
Solar | 1 | 13 | 53 | 95 | 123 | 155 | 220 | 283 | 396 | 429 | 459 | 493 | 569 | 730
Total | 13621 | 14198 | 14924 | 16661 | 17904 | 18894 | 18529 | 17751 | 17833 | 18564 | 19539 | 19806 | 19970 | 20208
Annual growth rate (%) | 0 | 4.2361 | 5.1134 | 11.639 | 7.4605 | 5.5295 | -1.9318 | -4.1988 | 0.46195 | 4.0991 | 5.2521 | 1.3665 | 0.82803 | 1.1918
Source: Rede Eléctrica Nacional (REN)
Table: Growth in electricity generation and consumption in Portugal (GWh)
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Generation | 44435 | 43111 | 41803 | 46035 | 50087 | 48424 | 42553 | 47832 | 49003 | 48165 | 55878 | 54545 | 55144 | 48771
Annual growth rate (%) | - | -2.9796 | -3.034 | 10.1237 | 8.802 | -3.3202 | -12.1242 | 12.4057 | 2.4482 | -1.7101 | 16.0137 | -2.3856 | 1.0982 | -11.557
Imports | 7730 | 9088 | 9479 | 5616 | 4350 | 4446 | 8297 | 5231 | 4084 | 4549 | 1973 | 3072 | 2994 | 7035
Exports | 2284 | 1591 | 40 | 827 | 1718 | 1635 | 403 | 2450 | 3184 | 2283 | 7055 | 5756 | 5650 | 3640
Consumption1 | 49173 | 50059 | 50595 | 49884 | 52198 | 50499 | 49060 | 49150 | 48825 | 48964 | 49274 | 49638 | 50905 | 50345
Annual growth rate (%) | - | 1.8018 | 1.0707 | -1.4053 | 4.6388 | -3.2549 | -2.8496 | 0.18345 | -0.66124 | 0.28469 | 0.63312 | 0.73873 | 2.5525 | -1.1001
Source: Rede Eléctrica Nacional; ENTSO-E; Global Transmission Research
Table: Expected net addition to generation capacity in Portugal (MW)
| 2020-24 | 2025-29 | Total
Themal | XXXX | XXXX | XXXX
Cogeneration | XXXX | XXXX | XXXX
Hydro | XXXX | XXXX | XXXX
Wind | XXXX | XXXX | XXXX
Solar | XXXX | XXXX | XXXX
Biomass | XXXX | XXXX | XXXX
Urban residues | XXXX | XXXX | XXXX
Other | XXXX | XXXX | XXXX
Total | XXXX | XXXX | XXXX
Note: The above additions are based on coninuity scenario mentioned in Monitoring Report of Supply Security of the National Electric System 2019–2040 released by Directorate General of Energy and Geology (DGEG) and REN.
Table: Expected growth in electricity demand in Portugal (GWh)
Scenario | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2023
Inferior continuity scenario | 50528 | 50642.6783 | 50757.6168 | 50872.8162 | 50988.2771 | 51104 | 51197.0605 | 51290.2904 | 51383.6901 | 51477.2598 | 51571
Central continuity scenario | 50855 | 51176.314 | 51499.6581 | 51825.0452 | 52152.4882 | 52482 | 52805.39 | 53130.7726 | 53458.1603 | 53787.5653 | 54119
Central ambition scenario | 50833 | 51130.302 | 51429.3428 | 51730.1326 | 52032.6815 | 52337 | 53675.3764 | 55047.9781 | 56455.6804 | 57899.3808 | 59380
Higher ambition scenario | 51342 | 51835.0393 | 52332.8132 | 52835.3673 | 53342.7475 | 53855 | 54402.5521 | 54955.6713 | 55514.4141 | 56078.8378 | 56649
Higher ambition scenario - Stress test | 51375 | 51931.2247 | 52493.4715 | 53061.8055 | 53636.2929 | 54217 | 54847.5612 | 55485.456 | 56130.7697 | 56783.5886 | 57444
Note: Data is from the Monitoring Report of Supply Security of the National Electric System 2019–2040 released by Directorate General of Energy and Geology (DGEG) and REN.
Source: Directorate General of Energy and Geology (DGEG), Portugal; Rede Eléctrica Nacional
Table: Growth in Portugal’s transmission line length (km)
Voltage | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
400 kV AC | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
220 kV | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
150 kV | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Total | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Annual growth rate (%) | - | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX
Source: Rede Eléctrica Nacional; Global Transmission Research
Table: Growth in Portugal’s transformer capacity (MVA)
Voltage | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
400 kV | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
220 kV | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Lower voltages (1) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Total | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Annual growth rate (%) | - | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX
Note: Voltage-wise break up of transformer capacity for 2015-19 period is estimated based on past trends
Source: Rede Eléctrica Nacional; ENTSO-E; Global Transmission Research
Table: Portugal’s transformers (No.)
Voltage | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017E | 2018 | 2019
400 kV | bar: 2005 to 2019
220 kV | bar: 2005 to 2019
150 kV | bar: 2005 to 2019
Total | bar: 2005 to 2019
Source: Rede Eléctrica Nacional; Global Transmission Research
Table: Portugal’s planned addition to transmission network
2020-29
Line length (km) | 2005: XXXX
150 kV OHL | 2005: XXXX
220 kV OHL | 2005: XXXX
220 kV UGC | 2005: XXXX
400 kV OHL | 2005: XXXX
Transformer capacity (MVA) | 2005: XXXX
150 kV | 2005: XXXX
220 kV | 2005: XXXX
400 kV | 2005: XXXX
400 kV reactors (MVAr) | 2005: XXXX
Note: OHL – overhead lines; UGC – underground cable
Network addition data has been estimated based on projects proposed by REN in its latest Network Development Plan or Plano de Desenvolvimento e Investimento da Rede de Transporte de Electricidade (PDIRT) for 2020-29, and yet to be approved by the regulator.
Transformer capacity represents net addition to substation substation (after deducting transformer capacity to be decommissioned)
Source: Rede Eléctrica Nacional
Table: Proposed investment in Portugal's transmission network for 2020–29 (EUR million)
| 2020-24 | 2025-29 | Total
Base projects | 2005: XXX; 2006: XXX; 2007: XXX
Complimentry projects | 2005: XXX; 2006: XXX; 2007: XXX
Total | 2005: XXX; 2006: XXX; 2007: XXX
Base projects- those needed to be carried out to ensure safety and security of the transmission grid as well as respond to the needs of the distribution grid; Complementry projects- which result from new needs originating outside transmission grid, namely factors associated with energy policies.
Note: The above investment has been proposed by REN in its latest Network Development Plan or Plano de Desenvolvimento e Investimento da Rede de Transporte de Electricidade (PDIRT) for 2020-29, and yet to be approved by the regulator.
Source: Rede Eléctrica Nacional; Global Transmission Research