## Sheet1
Type of Project | Name of Project | Country | Region | Route | Developer (s) | Type of Developer | Equity holder(s) | Voltage (kV) | Technology | Offshore/Onshore | Type of Line | Description | Length (km) | Substation information | Estimated cost (USD million) | Funding | Status | Key contractors | Scheduled completion | Contact
[20 empty] | Company Name | Address | Telephone | Email | Website
New build | Grain Belt Express Transmission Project | US | North America | Phase 1: Ford County, Kansas-Monroe County, Missouri; Phase 2: Missouri into Indiana, south of Terre Haute | Grain Belt Express (GBX) Clean Line LLC [owned by Invenergy LLC; earlier owned by an affiliate of Clean Line Energy (CLE) Partners LLC] | Private | Owned by Invenergy LLC; earlier owned by an affiliate of Clean Line Energy (CLE) Partners LLC | 600 and 345 | HVDC and AC | onshore | OHL | The 800-mile (1,287.48-km) project has been proposed to deliver 5,000 MW (3,500 MW previously) of wind energy from western Kansas to utilities and customers in Missouri, Illinois, Indiana and states farther east. The Grain Belt Express (GBX) project will facilitate about USD7 billion in investments in renewable energy projects in Kansas. Phase I of the project consists of an approximately 530-mile (853-km), ±600 high voltage direct current (HVDC) transmission line between Ford County, Kansas, and Monroe County, Missouri; two HVDC converter stations (in the two counties); a 1,000-foot alternating current (AC) transmission line from the HVDC converter station at the terminus of the Ford County HVDC transmission line to an existing substation; and an approximately 40-mile (64.3 km) 345 kV AC line from the HVDC converter station at the terminus of the Monroe County HVDC transmission line to an existing substation and a proposed substation, both in Callaway County, Missouri. The AC line is known as the Grain Belt Express Tiger Connector. This has received approval from Kansas Corporation Commission (KCC) and Missouri Public Service Commission (PSC). Phase II of the project will extend the line from Missouri into Indiana, south of Terre Haute. In Kansas, the project includes the construction of approximately 384 miles (618 km) of HVDC transmission line and 2.5 GW of Ford County interconnection facilities. In Missouri, it includes the construction of approximately 146 miles (235 km) of HVDC transmission line and 2.5 GW of Missouri interconnection facilities. In Illinois, it includes the construction of approximately 200 miles (321.87 km) of HVDC transmission line. The USD2 billion GBX project is based on a participant-funded merchant model. Its construction will be paid for by the renewable energy generators and load-serving entities that purchase transmission capacity on the line. KCC and Indiana Utility Regulatory Commission (IURC) have granted the developer public utility status. The Federal Energy Regulatory Commission (FERC) has given its approval to the developer to initiate the negotiation process for selling transmission rights under the project. In November 2015, Illinois Commerce Commission (ICC) granted CLE the certificate of public convenience and necessity (CPCN) to construct and operate the Illinois portion of the project. CLE awarded the contract to supply equipment for the project to Missouri-based manufacturers ABB Limited, General Cable and Hubbell Power Systems (HPS). Kansas City-based PAR Electrical Contractors will provide manpower for the project. In August 2017, Missouri regulators rejected CLE’s application for the project, for the second time in three years. According to state regulators, the developer must get the consent of counties to string a power line across roads before getting state approval. However, the Missouri Supreme Court stated that it is not compulsory for the developers to secure the consent of every county before seeking approval for their project if it is in public interest and necessary to maintain grid reliability in the area, as in the case of the GBX transmission line project. Following this, the project was forwarded to the Missouri PSC to redetermine the need for the same before granting its final approvals. In July 2018, the Missouri Supreme Court voted in favour of CLE’s GBX transmission line project, stating that the state regulators had erred in their judgement to reject the project earlier in 2017. In November 2018, CLE announced its plans to sell all its assets in the project to Invenergy LLC. In February 2019, Invenergy LLC filed an application with the Missouri PSC for the acquisition. In March 2019, the Missouri PSC approved the HVDC GBX project, and in December 2019, the Missouri Court of Appeals for the Eastern District affirmed a decision by state utility regulators to approve the project. In March 2020, the Missouri Supreme Court decided to uphold the decision of the Missouri Court of Appeals for the Eastern District to affirm a decision by the state PSC to approve the project. By this time, the project had received approval from Missouri PSC, KCC and IURC. In August 2020, Invenergy LLC announced plans to deliver about 2,500 MW of power capacity to Kansas and Missouri from its 4,000 MW GBX transmission projects. Earlier, the project would have delivered about 500 MW of largely wind-generated power to customers in Missouri and another 3,500 MW to states farther east under the PJM Interconnection. In December 2020, Invenergy LLC announced that it will seek regulatory approval in Illinois in 2021. In April 2022, the House Bill 500 was passed in Missouri. The bill required the Missouri PSC to collect a resolution of support from each county in which projects like the GBX would operate, before issuing its own approval; compensate landowners for agricultural land seized at a sliding scale beginning at 150 per cent of the fair market value; and require condemnation proceedings to include county commissioners and experienced farmers. If passed through the Missouri Senate, it could make it more difficult for the project to rely on the state’s authority to invoke eminent domain, which allows governments to take property if it is needed for public use, including power lines. Although Missouri’s Supreme Court upheld the PSC’s 2019 approval of the project, state lawmakers and groups such as the Missouri Farm Bureau claim that the HVDC project does not qualify for eminent domain power because it is neither a public utility nor an electrical corporation. In July 2022, Invenergy transmission announced that it is increasing the capacity of its GBX project by 25 per cent. The project will now deliver 5,000 MW of power compared to the originally proposed 3,500 MW of wind energy from western Kansas to utilities and customers in Missouri, Illinois, Indiana and states farther east. The project is expected to help enable up to USD7 billion in electricity cost savings for Kansas and Missouri consumers by 2045. In October 2022, the Midcontinent Independent System Operator (MISO) stated in a filing with FERC that the project would be excluded from the second phase of MISO’s long-range transmission plan (LRTP). Invenergy argued that the amount of electricity MISO would receive via the bi-directional GBX line would impact the projected production cost savings, congestion and fuel savings, as well as other advantages that MISO discovered in its analysis. In response to a complaint made by Invenergy, the grid operator stated that the GBX line is ineligible to be included in MISO’s transmission planning process. To be included, the project must be either represented in a utility integrated resource plan (IRP) or in a preferred plan for utilities that do not have an IRP, or the project must have an interconnection agreement. In December 2022, the US Department of Energy’s (DOE) Loan Programs Office (LPO) announced its intent to prepare an environmental impact statement (EIS) for the first phase of the project as required under the National Environmental Policy Act (NEPA). Further, DOE also announced that it was considering providing a loan guarantee to the project, which would be the first loan guarantee that it would issue for an HVDC transmission line. Though DOE did not disclose the loan amount, usually it allows for loan guarantees covering up to 80 per cent of project costs. DOE’s LPO held six public scoping meetings for the project – four in-person and two virtual – between January 25, 2023 and February 2, 2023. In January 2023, Invenergy Transmission selected Siemens Energy as its HVDC transmission technology supplier for Phase I of the project. Under a Preferred Supplier Agreement, Siemens Energy will support the final integrated design of the HVDC converter stations in Ford and Monroe counties. Invenergy Transmission and Siemens Energy are also partners on the engineering, procurement and construction (EPC) of the HVDC converter stations. Invenergy Transmission has already secured land control for converter station parcels in Kansas and Missouri. In February 2023, the DOE’s LPO hosted a public meeting in response to a loan guarantee request for Phase I of the Grain Belt Express project proposed by Invenergy Transmission LLC. Though DOE has not disclosed the loan amount yet, usually it allows for loan guarantees covering up to 80 per cent of project costs. Invenergy estimated that both phases of the Grain Belt project would cost about USD7 billion. In March 2023, the ICC granted Invenergy LLC the CPCN for the project. With the ICC’s decision, GBX has now obtained initial siting approvals from state utility regulators in all the states that make up the project’s path, including Kansas, Missouri, Illinois and Indiana, for the HVDC portion of the line. In October 2023, Grain Belt Express Clean Line LLC received approval from the Missouri PSC to amend its existing CPCN application, marking the last required state siting approval for significant enhancements to the project. This approval will provide certainty about power delivery, which is crucial for ongoing and upcoming commercial contracting efforts. Later in the same month, the project faced opposition from Missouri landowners. The Missouri Landowners Alliance urged FERC to compel Invenergy to submit a new application for permission to offer capacity on the transmission project at negotiated rates. The group requested FERC to reject Invenergy’s request to amend its existing negotiated rate authority for the project, as significant changes have occurred since its approval in 2014. This action, if enforced, could potentially disrupt the project’s financing and construction plans. Invenergy is attempting to streamline the approval process by amending its existing negotiated rate authority in a new docket and by requesting a shorter comment period. In August 2024, the 5th District Appellate Court of Illinois overturned the regulatory approval given by ICC for the Illinois segment of GBX project, a decision that could potentially escalate to the Illinois Supreme Court. The court cited insufficient evidence regarding GBX’s financial capacity stating that ICC’s decision lacked substantial proof that GBX could fund the project. The Illinois Supreme Court will have 35 days to decide whether to hear the appeal. In October 2024, the Missouri Western District Court of Appeals ruled that Chariton County cannot block construction of the transmission line by refusing permission to cross county roads. The court ruled that Missouri PSC had already determined that the line could cross Chariton County roads when it issued the CCPN, along with approval of the project’s route. The court clarified that counties can set standards for utility infrastructure construction but cannot deny consent for crossing roads. It was emphasised that local rules must not conflict with state regulations or undermine Missouri PSC authority. In November 2024, DOE, through its LPO, announced a conditional commitment for a loan guarantee of up to USD4.9 billion to help finance Phase I construction. The loan guarantee, which includes USD4.4 billion as principal and USD470 million in capitalised interest, will be offered through the DOE’s Title 17 Clean Energy Financing Program. The financing is contingent on the completion of an environmental review and the fulfilment of various technical, legal, environmental and financial conditions. Once these conditions are met, the DOE will enter into definitive financing documents and fund the loan guarantee. In December 2024, a US Senator opposed DOE’s decision to grant the conditional loan guarantee, expressing concerns about the project’s impact on Missouri farmers and landowners, as well as its reliance on federal funding. He argued that the project is a merchant transmission line that has not secured contracts with power customers and lacks sufficient financial backing. Additionally, he questioned the DOE’s decision to provide funding before it completed the required technical, environmental and financial reviews. In May 2025, GBX announced nearly USD1.7 billion in combined contractor awards to two US engineering and construction firms – Quanta Services and Kiewit Energy Group Inc. – to build the 800-mile (1,287.48 km), ±600 kV HVDC line. In July 2025, the DOE terminated its USD4.9 billion conditional loan commitment for the project, issued by the LPO in November 2024. The DOE found that the conditions necessary to issue the guarantee were unlikely to be met and concluded that it was not essential for the federal government to support the project. However, despite the cancellation, the project developer plans to proceed with the GBX project. Once completed, the project is expected to provide USD52 billion in energy cost savings to American consumers over the next 15 years by increasing market efficiency and grid resilience. Construction under Phase-I of the GBX project is slated to begin in 2026. | 1287 | Proposed substation Callaway County, Missouri | USD7000 million | Merchant-funded | Under development | Simens Energy; Quanta Services; Kiewit Energy Group | 2031* | Grain Belt Express | 1999 Wabash Ave, Ste. 110, Springfield, IL 62704 | 866-452-4082 | connect@grainbeltexpress.com | grainbeltexpress.com
New build | RioSol Transmission Project | US | North America | Torrance–Pinal | El RioSol Transmission, LLC and New Mexico Renewable Energy Transmission Authority (RETA), SWPG | Private and Public | El RioSol Transmission LLC is a wholly owned subsidiary of Southwestern Power Group (owned by MMR Group) | 500 | AC | onshore | OHL | The project entails the development of an approximately 550-mile, 500 kV HVAC transmission line designed to enhance renewable energy access across New Mexico and Arizona. The project will stretch from its proposed eastern terminus near Corona in central New Mexico to its western terminus near the Pinal Central substation in central Arizona, potentially including several intermediate substations to facilitate interconnections with the existing extra-high voltage (EHV) transmission system. With a capacity of up to 1,600 MW, RioSol will deliver around 1,500 MW of clean energy. The transmission line will utilise lattice towers up to 199 feet in height and Lapwing conductors. Construction is set to begin in 2026, with the project expected to be in service by 2028. | 886 | Construction of 11 substations along the line | USD2400 million | Debt-equity | Under development | Not available | 2028 | Arizona Office | 3610 N. 44th Street, Suite 250, Phoenix, Arizona 85018 | 602-808-2004 | info@RioSol.energy | https://riosol.energy/
New build | Colorado’s Power Pathway Project | US | North America | Fort St Vrain–Canal Crossing; Canal Crossing–Goose Creek; Goose Creek–May Valley; May Valley–Tundra; and Tundra–Harvest Mile, as well as an extension, May Valley–Longhorn (MVL Extension | Xcel Energy | Private | Xcel Energy | 345 | AC | onshore | OHL | Colorado’s Power Pathway is a USD1.7 billion project designed to enhance the state’s electric grid and support future renewable energy development across Colorado. The project will span approximately 550 miles of new 345 kV double-circuit transmission line and involves the construction of four new substations along with additions or expansions at four existing substations. The system covers twelve counties, primarily in eastern Colorado, with key endpoints at the Fort St. Vrain, Canal Crossing, Goose Creek, May Valley, Sandstone, Tundra, and Harvest Mile substations. The project is divided into five main segments: Fort St. Vrain–Canal Crossing, Canal Crossing–Goose Creek, Goose Creek–May Valley, May Valley–Sandstone–Tundra, and Sandstone–Harvest Mile, while the May Valley–Longhorn Extension has been paused following a January 2024 Colorado Public Utilities Commission (CPUC) Phase II decision but may be proposed in the future. Colorado’s Power Pathway aims to increase electric reliability, stimulate regional economic growth, and create jobs during construction. Routing and siting studies were conducted between 2021 and 2022, with permitting completed between 2022 and 2025, depending on the segment. Construction began in 2023 on Segments 1 and 2 and is ongoing on Segment 4, with Segments 2 and 3 already in service. Quanta Services, Inc. has been selected as the major contractor to manage all construction activities for the project. All segments are expected to enter service between 2025 and 2027. | 886 | Four new substations and equipment additions or expansion of four existing substations | USD1700 million | Debt-equity | Under construction | Quanta Services, Inc | 2027* | Betty Mirzayi, Transmission Planning, Xcel Energy, | 13125, US-40, Hayden, Colorado 81639, USA | 855-858-9037 | ColoradosPowerPathway@XcelEnergy.com | https://www.coloradospowerpathway.com/
New build | North Plains Connector HVDC Project | US | North America | Bismarck, North Dakota and Colstrip, Montana | ALLETE Inc., North Plains Connector LLC (a subsidiary of Grid United LLC), Portland General Electric (PGE), NorthWestern Energy and Puget Sound Energy (PSE) | Private | Grid United | 500 | HVDC | onshore | OHL | The Norths Plains Connector HVDC project is set to be the nation’s first HVDC transmission connection between WECC, SPP and MISO.North Plains Connector will unlock 3,550 MW of capacity across the three systems. It is open to all sources of electric generation and will enable increased transfer capacity across the three energy markets. The 420-mile (676-km) transmission line is to be constructed with end-points near Bismarck, North Dakota and Colstrip, Montana. Grid United leads the development of the North Plains Connector, with ALLETE Inc. serving as a joint developer. Portland General Electric (PGE) has signed a Memorandum of Understanding (MOU) for 600 MW of transfer capacity, while BHE U.S. Transmission, Puget Sound Energy (PSE), NorthWestern Energy, and Avista Corporation have all signed MOUs for various ownership stakes in the project. It will extend from an existing substation in Colstrip to an existing substation in Center City, North Dakota and a new substation in Morton County, North Dakota. The project will entail an investment of approximately USD3.2 billion. The transmission infrastructure aims to provide Portland General Electric (PGE), an integrated energy company based in Oregon, with 600 MW of transfer capacity, enhanced wholesale markets, access to several energy resources across diverse weather patterns and time zones, and better resiliency and reliability, besides easing congestion on the existing western transmission system. On completion, it will also enable additional energy production in Montana and North Dakota. North Plains Connector is in the planning and development phase. Grid United will continue to gather input from stakeholders and study the proposed project corridor. Using that input, it will finalize its route analysis, purchase land rights, and initiate regulatory filings, with approvals expected in 2026. Construction will commence after the project obtains the necessary regulatory approvals estimated by 2028. North Plains Connector could be operational by 2032. | 676 | Construction of a new substation in Morton County and upgrades to existing ones. | USD3600 million | Merchant-funded | Planned | Hitachi Energy, Astrapé Consulting | 2032 | Brian Dudeck, Senior Project Manager | 712 Main Street, Suite 1000, Houston, TX 77002 | 1 (800) 856-2973 | info@northplainsconnector.com | www.gridunited.com
New build | TransWest Express (TWE) | US | North America | Wyoming–Colorado–Utah–Nevada | TransWest Express LLC | Private | TransWest Express LLC is a wholly owned affiliate of the Anschutz Corporation | 525 | HVDC, AC | onshore | OHL | The project spans approximately 732 miles (1,178 km) and will deliver up to 3 GW of electricity generated by the Chokecherry and Sierra Madre Wind Energy Project under construction in Carbon County, southern Wyoming. The transmission corridor traverses four states: Wyoming, Colorado, Utah, and Nevada, and includes both high voltage direct current (HVDC) and high voltage alternating current (HVAC) segments. A 405-mile (652 km), 525 kV HVDC segment will transmit 3 GW of electricity between Wyoming and Utah, a 278-mile (447 km), 500 kV HVAC segment will transmit 1.5 GW of electricity from Utah to Nevada, and a 49-mile (79-km), 500 kV HVAC transmission line will traverse Nevada. The project also includes the construction of two HVDC converter stations along with ground electrode facilities in Wyoming and Utah, four alternating current substations in Wyoming, Utah and Nevada, and a fibre optic network communications system. The TWE project is being developed by TWE LLC – a wholly-owned subsidiary of US-based private holding company Anschutz, with Siemens Energy, and the Barnard-Wilson Joint Venture (BWJV) – a partnership between Barnard Construction and Wilson Construction. BWJV was selected to construct the TWE transmission line and associated substations in June 2023, while Siemens Energy was contracted to supply the HVDC converter stations for the project in December 2022. With civil construction of the northern terminal site for the project largely complete, the new construction activity for 2025 is focused on the southern terminal site near Delta, Utah. BWJV civil construction and environmental compliance teams began working on May 1, 2025 to prepare an approximately 100-acre site in Millard County, Utah, that will become the home of the TWE Project’s Utah Terminal. Ongoing work includes site grading, road access development, and environmental mitigation measures in compliance with federal and state guidelines. Preparation of the site – located near the Intermountain Power Plant and transmission hub – is critical to the timely completion of the overall TWE project. The TWE line is planned to be interconnected to PacifiCorp’s 500 kV transmission system in Wyoming, to the Intermountain Power Agency’s 345 kV switchyard at the Intermountain Power Project in Millard County, Utah, to NV Energy’s 500 kV system, and to the California Independent System Operator’s (CAISO) 500 kV transmission system in Nevada. Construction of the project was officially launched with a ground-breaking ceremony held in June 2023. The interstate transmission infrastructure was estimated to cost USD3 billion. The project development was originally undertaken by the Arizona Public Service Company (PSC), National Grid, and the Wyoming Infrastructure Authority. Anschutz formed TWE and took over the development rights of the project in July 2008. The development plan for the project was submitted to the BLM in January 2009. The Western Area Power Administration (WAPA) joined BLM as the lead agency for preparing the environmental impact statement (EIS) for the project in 2010. The record of the decision (RoD) finalising the route of the power line was issued in 2017. The governors of Wyoming, Utah, Nevada, and California signed a memorandum of understanding (MoU) for the interregional transmission project in April 2015. The State of Wyoming’s Industrial Siting Council permitted TWE to construct and operate the project in April 2019, while BLM issued a notice to proceed with the construction of the line in April 2023. | 1178 | Construction of converter stations in Wyoming, Utah and Nevada | USD3000 million | Debt-equity | Under construction | Siemens Energy | 2029* | TransWest Express LLC | 555 Seventeenth Street, Suite 2400, Denver, CO 80202 | 844-893-4636 | support@transwestexpress.com | https://www.transwestexpress.net/
Rebuild/Refubishment | Cape Fear–West End Line Upgrade Project | US | North America | Cape Fear (Sanford)–Carthage–West End (northwest of Pinehurst) | Duke Energy Carolinas, LLC | Private | Duke Energy Corporation | 230 | AC | onshore | OHL | The project aims to enhance the reliability and energy capacity of the power network for the region. It involves upgrading nearly 27 miles (43 km) of the existing 230 kV transmission line by replacing the wire conductor and structures and improving the electrical equipment in the Cape Fear and West End substations. The line runs from Sanford, North Carolina, passes south of Carthage, and ends northwest of Pinehurst. Construction of the project began in 2024 and it is expected to be completed by 2026. | 43 | Upgrade of equipment in two Cape Fear and West End substations | USD70.35 million | Debt-equity | Under construction | Not available | 2026 | Duke Energy | 525 South Tryon Street, Charlotte, NC 28202 | 866-297-5886 | CarolinasEast@duke-energy.com | https://www.duke-energy.com/
New build | Ross Prairie to Shaw Transmission Project | US | North America | Ross Prairie Substation–Shaw Substation | Duke Energy Corporation | Private | Duke Energy Corporation | 230 | AC | onshore | OHL | The project involves constructing a new 19-mile (31-km), 230 kV transmission line between the existing Ross Prairie and Shaw substations to provide an additional source of power to Ocala and Marion County, Florida. As one of several grid improvement projects in Marion, Levy, and Alachua counties, the new line aims to meet the growing energy needs of the region, enhance grid resiliency, and support clean energy development. The project includes upgrading both substations and building new above-ground transmission lines using steel and concrete poles, ranging in height from 90 to 140 feet, while maximising the use of existing easements. This initiative will increase energy capacity, provide a more reliable power supply, minimise outage risks during storms, and support the region's continued economic growth. Construction of the project is expected to begin in 2026. | 31 | Upgrade of Ross Prairie and Shaw substations | Not available | Debt-equity | Under development | Burns & McDonnell | Not available | Duke Energy | 525 South Tryon Street, Charlotte, NC 28202 | 888.385.3406 | RossPrairie@duke-energy.com | https://www.duke-energy.com/